Investigation of runaway electrons at Golem
7th Meeting on Runaway Electron Modeling
J. Čeřovský1,2, V. Svoboda1, O. Ficker1,2, P. Dhyani1, P. Švihra1,
L. Novotný1 ,V. Linhart1
1 Faculty of Nuclear Sciences and Physical Engineering, Czech Technical University in Prague
2 Institute of Plasma Physics, Czech Academy of Sciences, Prague
[Speaker Notes: 100 m vysoko, metru za sekundu.]

---
Outline
Golem tokamak
Experimental setup
Center of Advanced Applied Sciences – CAAS
Diagnostic developments

---
Golem tokamak
R [m]	0.4
a [m]	0.085
Ipmax [kA]	10
BTmax [T]	0.8
tp [ms]	20
former tokamak CASTOR at IPP → now located at FNSPE CTU in Prague
serves as an educational and training device for students of plasma physics
testbed for diagnostics development
scientific program: edge plasma and runaway electron studies

---
Typical Golem discharge
Parameters of discharge:
Ucd = 350 V
Ubt = 1200 V
pwg = 14 mPa
td = 1 ms
Upcoming upgrades:
real time positional feedback
gas puffing system
fast camera
new interferometer

---
Experimental setup
RE related diagnostics:
NaI(Tl)
YAP(Ce)
Timepix detector
Strip detector
30 personal dosimeters
+ 2 additional NaI(TL)
Attempts of installation
of Cherenkov detector
Future diagnostics:
2 scintillation probes (YAP)
2 Timepix detector
Fast data acquisition
Tektronix MSO58
sampling rate: up 35 Ms/s
bandwidth: 500 MHz
Rich magnetic diagnostics:
2 rings of Mirnov coils (16 coils)
4 Mirnov coil at limiter

---
CAAS
Center of Advanced Applied Sciences
support of multidisciplinary research
broad collaboration of different faculties of Czech Technical University
Participating faculties:
Faculty of Nuclear Sciences and Physical Engineering
Faculty of Civil Engineering
Faculty of Mechanical Engineering
Faculty of Electrical Engineering
Faculty of Architecture
Faculty of Information Technologies
Working group PLASMA:
Faculty of Nuclear Sciences
and Physical Engineering
Faculty of Electrical Engineering
Faculty of Mechanical Engineering
possibility to share experiences with different types of plasma
→ tokamak, Z – pinch and laser plasma
→ opportunity study different mechanisms of generation of fast particles

---
Timepix3 detector
pixel semiconductor detector for detection of SXR and HXR radiation
originally designed for imaging technique
→ capable to resolve several	events simultaneously
consists of Timepix3 chip and silicon sensor
→ readout chip and conversion layer (photons → charge)
65 536 independent pixels per chip
→ a large number of “independent” detectors → suppression of pileups
[Linhart, 2018]

---
Timepix3 detector
recorded spectrum in Golem discharge #27758
→ maximum energy of RE around 500 keV?
spectra recorded in forward and backward directions e. g. in current (blue) and co-current (red) directions → correlation with favourable direction of motion of RE
[Linhart 2018]

---
PH32 detector
silicon strip detector developed at the Center of Applied Physics and Advanced detection systems at FNSPE CTU
different regimes of detector operation
→ hit counting
→ deposited energy measurement
different modes of operation
→ high gain mode – sensitive to SXR
→ low gain mode – sensitive to protons or	heavy ions
[Švihra 2018]

---
PH32 detector
the detector placed on a radial manipulator inside vacuum vessel
→ direct observation of RE
first measurement with segmented semiconductor detector in the vacuum vessel of tokamak
ongoing improvement of shielding against EMI
[Švihra 2018]

---
Conclusion I
a large number of diagnostics useful for investigation of runaway electrons
development of novel diagnostic techniques
How can be Golem helpful for runaway electrons studies?

---
References
[Linhart 2018] Linhart, Vladimir, et at. "First Measurement of X-rays Generated by Runaway Electrons in Tokamaks Using a TimePix3 Device with 1 mm thick Sillicon sensor." IEEE Nuclear Science Symposium and Medical Imaging Conference (2018).
[Svihra 2018] Svihra, Peter, et al. "Runaway electrons diagnostics using	segmented semiconductor detectors." Fusion Engineering and Design (2018).