Low Cost Alternative of High Speed Visible Light Camera for Tokamak Experimentsa)

T. Odstrcil1, M. Odstrcil1,2, O. Grover1, V. Svoboda1,b), I. Ďuran1,2, J. Mlynář1,2

1 Czech Technical University in Prague, FNSPE, Břehová 7, CZ-115 19 Praha 1, Czech Republic,

2 Institute of Plasma Physics AS CR, v.v.i., Association Euratom-IPP.CR, Za Slovankou 3,

CZ-182 00 Praha 8, Republic

(Presented XXXXX; received XXXXX; accepted XXXXX; published online XXXXX)

(Dates appearing here are provided by the Editorial Office)

In this contribution, we present design, analysis, and performance evaluation of a new, low cost and high speed visible-light camera diagnostic system for tokamak experiments. The system is based on the camera Casio EX-F1, with the overall price of approximately a thousand USD. The achieved temporal resolution is up to 40 kHz. This new diagnostic was successfully implemented and tested at the university tokamak GOLEM (R = 0.4 m, a = 0.085 m, BT < 0.5 T, Ip < 4 kA). Two possible applications of this new diagnostic at GOLEM are discussed in detail. The first application is tomographic reconstruction cameras for estimation of plasma position and emissivity. The second application is a visible spectroscopy for impurity studies.

I. INTRODUCTION

A high speed visible camera is a standard diagnostic tool for most magnetic confinement fusion experiments. These cameras serve a wide range of purposes including measurement of emissivity profiles of hydrogen isotopes and certain impurities, visualization of transient events in the edge and scrape-off layer plasmas, monitoring the status of plasma facing components, etc. Generally, a setup providing a high spatial resolution and a high frame rate of at least 1 kHz is required to address most of these tasks. Endurance in high magnetic fields and non-negligible radiation doses can be an issue for applications of such a diagnostic at certain fusion experiments. The relatively high price is one of the main disadvantages of the commercially available scientific solutions, possibly being even prohibitive when considering installation of such products at small, university-based plasma experiments. We present a new low cost solution, suitable for smaller tokamak experiments, based on the commercially available camera Casio Exilim EX-F1. We demonstrate performance of this new diagnostic in two tasks: tomography and fast visible-light spectroscopy.

II. EXPERIMENTAL SET-UP

A.  High speed camera Casio EX-F1

The Casio EX-F1 is a commercially available camera with high speed imaging capabilities. This camera is interesting especially because of its low price. It costs less than 1000 USD while any cheap scientific high speed camera costs more than 4000 USD and scientific cameras with comparable maximum frame rate are even more expensive.

The camera is equipped with a variable objective with an antireflexive coating. Entrance pupil size is ø4.5 cm, the viewing angle is variable from 9.2° to 88° with the corresponding maximal numerical aperture from 0.11 to 0.18.

The camera contains a 1/1.8” CMOS imaging chip IMX017CGE with a maximum 6.2 Mpix resolution and 2.5µm square pixels. The camera can operate in various regimes. We have used a high-speed (HS) movie mode that allows up to 1200 fps with a resolution of 336×96 pixels. Finally, it is possible to use the so-called rolling shutter effect to increase the time resolution up to the effective 40 000 fps with a resolution of 336×1 pixels (one row of CMOS chip). The principle of the rolling shutter1 is shown in Fig. 1. Each pixel raw from the CMOS sensor is read out separately by parallel readout circuits. The time shift of the electronic shutter in consecutive rows is given by the readout time.  The readout times of individual rows cannot be overlapped because they are read by the same controller. Furthermore, when the last row of CMOS chip is reached, there is a time lag equal to 16% of the frame time, which is needed for processing of each full image (see Fig. 1). Then, the readout cycle can begin again starting from the first row.

Figure 1: A simplified example of timing of the image readout in rolling shutter mode for the case of  CMOS chip .Each box corresponds to processing time of one row.

Data are stored in a compressed RGB format with an 8-bit per color resolution. The maximum length of a single record is limited to 30 minutes. The minimal exposure time is 25 μs.

We measured the basic sensor parameters in order to correctly evaluate plasma emissivity. Values in the output image are a nonlinear function of the light intensity. According to our measurement, the correct linearization function is well approximated by  where y is proportional to the normalized light intensity, x is the intensity stored in the image and the constants are , . Furthermore, spectral sensitivity of the CMOS sensor was measured (see normalized data in Fig. 2).

Figure 2: (color online) Measured relative spectral sensitivity of the CMOS sensor and camera firmware color adjustment.

B.  Arrangement of the fast visible camera diagnostic on GOLEM

Experiments were conducted at the small tokamak GOLEM2
(R = 0.4 m, a = 0.085 m, BT < 0.5 T, Ip < 4 kA) located in Prague, Czech Republic. The typical length of a plasma discharge is 15 ms. Two applications of the Casio EX-F1 high speed camera for tokamak plasma diagnosing were commissioned and evaluated: tomographic reconstruction of emissivity profile and spectroscopy, both in visible range. Each application required a different setup. In both cases, the camera Casio EX-F1 was operated in rolling shutter regime.

Firstly, we performed a tomographic reconstruction of plasma emissivity. Tomographic reconstruction is generally an ill conditioned problem; therefore, it is necessary to observe the plasma column from many different lines of sight. In our case, two HS cameras were placed on perpendicular diagnostic ports as it is shown in Fig. 3. Orientation of the cameras was set so that the horizontal rows of the CMOS chip were rotated perpendicularly to the toroidal magnetic field direction in order to allow exploitation of the rolling shutter effect.

Figure 3: Experimental setup for tomographic reconstruction: two cameras were placed perpendicular to each other.

The second tested application is a simple high speed spectrometer. The spectrometer was composed from a system of light collecting lenses with a 15 cm diameter and an output focal length of 10 cm. The focused light beam passes through a slit and incidents on a diffraction grating. An aluminum coated ruled grating with 1200 grooves/mm and size 7×6 cm was used as the dispersion element. Finally, the reflected light is captured by the HS camera. Because of the short focal length and aberration of this spectrometer, the slit image is significantly curved and this effect is removed during post-processing. In our case, the maximum achievable time resolution was 0.2 ms and it was primarily limited by the sensitivity of the CMOS sensor and not by the maximum achievable time resolution of the HS camera itself.

C.  Image preprocessing

Before further analysis of the images taken by the HS camera they have to be significantly preprocessed. Three basic issues had to be solved:

- Reflections from background.

- Gap time during the image readout.

- Missing time synchronization with the global trigger

The spatial profile of plasma light reflected from the tokamak chamber is strongly non-uniform as can be seen in the top image of Fig. 4. Increase of the camera signal at the beginning and end of each frame is caused by the fact that reflectivity of tokamak chamber segments along the lines of sight tangential to the port edges is significantly stronger compared to the section viewed by the central lines of sight. We employed Singular Value Decomposition (SVD) to remove these artifacts in the signal due to non-homogeneous reflections. Each column in the decomposed matrix corresponds to one frame. After the decomposition, any time evolution is removed from the first two “topos“ vectors and also these two vectors are smoothed in the spatial direction. The projection of these vectors is subtracted from the original image and the resulting set of images is once more decomposed. This time, the first SVD vectors contain a majority of the reflection patterns, and therefore, the first few vectors are smoothed and the original image without the reflections is recovered.

Figure 4: (color online) An example of original (top) and preprocessed (bottom) image sequence from discharge #7251(discharge in Helium) obtained by the LFS camera (Fig. 3). The image is in real color.

In the second step, the missing gaps have to be calculated. Therefore, the images are once more decomposed using the SVD.  However, this time the vectors of the decomposed matrix are columns of each image. The topos vectors and their time evolutions (chronos) are obtained from the SVD. The fast Fourier transformation for incomplete data3 is used to interpolate the quazi-periodic chronos in the missing gaps. The Fourier transformation is applied on 0.1 ms windows around each gap and then the ordinary inverse Fourier transformation is computed and the missing time evolution (chronos) is estimated. The gaps have to be filled in order to increase the number of time slices suitable for the reconstruction by up to 32% in the case of the two cameras with unsynchronized video (gaps).

Finally, it is necessary to synchronize the video from the cameras with the global timing during postprocessing. In our case, we have successfully tested a high power flash as the synchronization element. It is necessary to use a flash with a very short pulse.

III. EXAMPLE OF RESULTS

Plasma images and emissivity reconstruction

The main task of plasma tomography is reconstruction of plasma emissivity. Because it is an ill posed and under-determined problem, some a priori knowledge must be assumed:

- Smooth emissivity profile – the optimal solution minimizes the Fisher information with the measurements as constraints4.

- Boundary conditions – zero emissivity is assumed out of the Scrape-Of-Layer (SOL) and only positive emissivity inside.

- Spatial frequency of the plasma emissivity in the radial direction is higher than in the poloidal direction. Therefore, smoothness is preferred along the flux surfaces. However, an iterative self-consistent approach is applied in order to find the emissivity centre because the plasma position in the GOLEM tokamak is not known precisely.

- Furthermore, the divergence of the chords (lines-of-sight) is not negligible.  It is important to consider that these chords form cones with vertex in the focal plane (see Fig. 3). Each real chord is replaced by an approximating set of “virtual” line chords.

Thanks to high universality, the pixel based algorithms are the most appropriate for our purposes. An algorithm minimizing the Fisher information4 is used. The speed and memory usage of this algorithm is greatly improved5 to allow reconstruction of hundreds of chords as well as a high resolution of the reconstruction. The high spatial resolution is necessary in order to minimize Moiré artifacts caused by a remarkable number of chords from each camera.

Figure 5: (color online)  An example of the tomographic reconstruction for discharge #7251 at 11.1 ms. Only the red component is plotted. Gray lines corresponds to the expected magnetic field and the white line is the border determined by a limiter of the tokamak.

Using the corrected output from both cameras, tomographic reconstruction was performed. The reconstructed emissivity for discharge #7251 at 11.1 ms is plotted in the Fig. 5. The observed profile was flat or shallowly hollow. This profile was probably caused by an influx of neutrals from the tokamak wall. Neutral particles penetrate through the plasma because the mean free path of neutrals is comparable with the plasma diameter.

The reconstruction was used to determine the plasma position and correct integration drift of the magnetic sensors used as standard diagnostics for position estimation.  The disadvantage of the flatness of the emissivity is that it can lower the credibility and thus, increase uncertainty of the determined position.

- Visible spectroscopy

The next presented use of the HS camera is a visible spectroscopy. The resolution power (), after the deconvolution, is only 200.  The main limitation of the resolution power is the width of the input slit that must be wide enough to obtain necessary light intensity. The second important limiting factor is also an inappropriate coupling of the optics with the camera. Moreover, distortion of the image caused a by a curved projection of the slit to the detector was corrected using 2D deconvolution based on the Tikhonov regularization. An example of the resulting spectra is in Fig 6.

Figure 6: (color online)  An example of the spectra from discharge #4615 using the built spectrometer. The green curve represents the original data; the blue was obtained using regularized deconvolution.

IV. SUMMARY

Examples of usage of the cheap high speed camera EX-F1 have been presented in this paper. Firstly, tomographic reconstruction with all necessary corrections – linearity, background subtraction and advanced gaps filling was done. Moreover, advanced tomographic reconstruction based on minimization of Fisher information with a customized smoothing matrix has also been successfully performed. Furthermore, the possibility of using the camera as a fast spectrometer detector has been investigated. The results are optimistic and suggest that this camera could be considered as a low cost, versatile diagnostic for small tokamak experiments.

V. ACKNOWLENGEMENT

This work was supported by the Grant Agency of the Czech Technical University in Prague, grant No. SGS11/131/OHK4/2T/14"

VI. REFERENCES

[1] , J. Gu, Y. Hitomi, T. Mitsunaga, S. Nayar, ICCP,1-8, 2010

[2] Svoboda V., Mlynar J., Pokol G., Stockel J., Vondrasek G., Fusion Engineering and Design, 2011

[3] V.Y..Liepin'sh,, Autom. Cont. and comp. sciences, Val 30, 1996

[4] Anton, M. et al.,  Plasma Phys. Controlled Fusion, 1996

[5] M. Odstrcil, J. Mlynar, T. Odstrcil, B. Alper, A. Murari and JET EFDA Contributors, submitted to Nucl. Instr. and Methods (2012)

# Text boxes

a)Contributed paper published as part of the Proceedings of the 19th Topical Conference on High-Temperature Plasma Diagnostics, Monterey, California, May, 2012.

b)Author to whom correspondence should be addressed: svoboda@fjfi.cvut.cz