Advanced Probe Measurements of Electron Energy Distribution Functions in CASTOR Tokamak Plasma

Tsv. K. Popov1, J. Stöckel2, R. Dejarnac2, M. Dimitrova3 , P. Ivanova1,

Tsv. Naydenova1

1Faculty of Physics, St. Kliment Ohridski University of Sofia, Sofia, Bulgaria

2Institute of Plasma Physics, Assoc. EURATOM-IPP.CR, Prague, Czech Republic

3Institute of Electronics, Bulgarian Academy of Sciences, Sofia, Bulgaria

tpopov@phys.uni-sofia.bg

Abstract. Langmuir probes are known for their ability to provide local measurements of very important plasma parameters, namely the plasma potential, the density of the charged particles and the electron energy distribution functions (EEDF). The correctness of using the probes under adverse conditions, such as presence of magnetic fields or high plasma temperature is still being questioned. In this paper we report the application of the first-derivative Langmuir probe method for processing the electron part of the volt-ampere (IV) characteristics measured in the CASTOR tokamak plasma. First results of EEDFs at different radial positions in the edge plasma are presented and the values of the plasma potential, electron temperature and electron densities are estimated.

The applicability of the first-derivative Langmuir probe method in strongly magnetized, high temperature tokamak plasmas is discussed.

Introduction

Among the contact methods of plasma diagnostics, the electric probes are the least expensive and still the fastest and most reliable diagnostic tools allowing one to obtain the values of very important plasma parameters; Langmuir probes (LP) allow local measurements of the plasma potential, the charged particles density and the electron energy distribution functions (EEDF).

Application of these probes under adverse conditions e.g., presence of magnetic fields or high plasma temperatures, is still under discussion. On the other hand, measurements of the plasma edge temperatures and the electron densities in tokamak are generally carried out by means of LPs [1]. In single LP experiments, the electron part of the current-voltage (I-V) characteristics is strongly distorted by the tokamak magnetic field. For this reason, the ion saturation part and the part around the floating potential are usually taken into account when retrieving the plasma parameters.

The recently developed kinetic theory [2, 3] may be used for calculation of the plasma parameters from the first derivative of the electron probe current. In this work we report first results of the EEDFs measurements in the CASTOR tokamak edge plasma (IPP.CR, Prague, Czech Republic) at different radial positions and present the values acquired of the plasma potential, the electron temperature and the electron densities.

Finally, we discuss the applicability of the first derivative Langmuir probe method to measurements in strongly magnetized, high temperature tokamak plasmas.

First derivative Langmuir probe method

A kinetic theory in a non-local approach for processing the electron probe current in the presence of a magnetic field was published recently [2]. The theory for magnetized plasmas was developed for Langmuir probes in the case when the linear size,, of the region disturbed by the probe is less than the electron energy relaxation length:

where the diffusion coefficient is ,  is the free path of the electrons and are the frequencies of electron-electron, electron-atom and inelastic collisions.

It was shown that the electron probe current for a cylindrical probe with radius R and length L at negative probe potentials is:

(1)

where m, e and n are the electron mass, charge and density, S is the probe area, U is the probe potential with respect to the plasma potential Upl. The geometric factor  assumes values in the range 4/3( ( (0.71

Here the EEDF  is normalized to 1 by:

(2)

The diffusion parameter  is:

(3)

In a presence of a magnetic field, the diffusion coefficient  in a non-local approach becomes a tensor with two components [4]:

and

where

(4)

( being the Larmor radius.) Obviously, the diffusion parameter will also depend on the orientation of the probe: If the cylindrical probe is oriented perpendicularly to the magnetic field, and in the case of a thin sheath and <<(, then:

(5)

If the probe is oriented parallel to the magnetic field, then:

(6)

In equation (3), the upper limit of the integral is replaced by the probe-disturbed length.

In the case of a strong magnetic field, the diffusion parameter , so that we can write for the electron probe current:

,			(7)

and, as was shown in [5], the electron energy distribution function, , is then represented not by the second derivative of the electron probe current (Druyvesteyn formula), but rather by its first derivative:

(8)

For a probe oriented perpendicularly to the magnetic field we can than write [3]:

(9)

If the probe is oriented parallel to the magnetic field:

(10)

Langmuir probe measurements at CASTOR tokamak edge plasma, Institute of Plasma Physics, Association EURATOM-IPP.CR, Prague, Czech Republic.

| CASTOR-Czech Academy of Sciences TORus | Major radius 400 mm Minor radius R 100 mm Toroidal magnetic field 0.5-1.5 T Plasma current 5-20 kA Pulse length <50 ms Working gas30-30 mPa Hydrogen |
| --- | --- |

Figure 1.	Photograph of CASTOR tokamak (top view), Institute of Plasma Physics, Association EURATOM-	IPP.CR, Prague, Czech Republic and schematic representation with its main parameters.

The I-V characteristics measurements were carried out by using an array of 16 single Langmuir probes (rake probe), oriented perpendicular to the magnetic field. Each probe tip has a length of 2 mm and radius of 0.35 mm. The probes are placed at a distance 2.5 mm from each other with a total length of 35 mm (Figure 2). All probe tips are biased simultaneously by a triangular voltage U(t).with respect to tokamak chamber, which serves as a reference electrode. The time necessary to measure a single I-V characteristic is typically ~ 1 ms.

| Figure 2a. Photograph of the rake probe | Figure 2b. Schematic diagram of the single probe circuit |
| --- | --- |

The data measured for shot # 26403; pin #8 displaced by 71.5 mm from the centre of the CASTOR poloidal cross-section are presented in Figure 3:

Figure 3. Probes bias U(t) and probe current I(t) during the shot #26403 for pin #.8

Procedure for evaluating the plasma potential, the electron temperature and the electron density using the electron part of the I-V characteristics.

To demonstrate the procedure of evaluating the plasma potential, Upl, the electron energy distribution function,, and the electron density, n, we will consider a single I-V characteristic at the middle (~10-11 ms) of the current pulse. The experimental data was processed by using the OriginLab 6.1 software. The single I-V characteristic was smoothed by adjacent averaging of 150 points (Figure 4). As was shown (equation (9)), the EEDF is proportional to the first derivative of the electron probe current. Figure 5 presents the first derivative of the smoothed I-V curve.

For further processing, one must know the value of the plasma potential.

| Figure 4 | Figure 5 |
| --- | --- |

For an ideal I-V which is saturated at probe potentials U > 0 with respect to the plasma potential, the plasma potential corresponds to the zero of the first derivative. In practice, even a small increment of I(U) at U > 0 leads to I’(U) deviating from zero at plasma potential. Additional reasons for this may be plasma potential fluctuations due to the turbulences and the smoothing of the experimental I-V characteristic.

At , as was shown in [6], the plasma potential is shifted by the electron temperature before the maximum of the first derivative. In Figure 5 this is 80 V. One can observe there are more or less pronounced bend in the first derivative curve seen (Figure 6).

| Figure 6 | Figure 7 |
| --- | --- |

Figure 7 presents the EEDF that corresponds to equation (8) (black curve). It is clearly seen that the electron energy distribution function is Maxwellian with temperature Te = 20 eV (red curve). The discrepancy in the energy interval from zero to 20 eV may be explained by the behaviour of the first derivative within the range of probe potentials U = 0 ( (20 V.

The electron density, n, may be obtained by comparing the best fit of the experimental EEDF to the Maxwellian EEDF normalized to 1 by equation (2):

(11)

At electron energies exceeding 130 eV, the level of the signal is too low and only noise is registered.

Results and discussion.

| Table 1 presents the radial distribution of the electron temperature in the bulk plasma. It is interesting to note that at 54, 56.5 and 59 mm from the centre, the EEDF is not strictly Maxwellian, but may be approximated by a bi-Maxwellian distribution (Figure 8). Figure 8. Experimental EEDF at 54 mm from the centre (black curve) and two-temperature approximation. The green curve is the sum of the 30 eV and 43 eV curves. | Radial position [mm] Electron temperature [eV] 54 30 43 56.5 24 40 59 23 33 61.5 31 64 30 66 26 68 23 71.5 20 74 18 76.5 16 79 13 81.5 14 84 13 86 13 89 12 91 12 Table 1 |
| --- | --- |
| The results obtained are compared to those evaluated by the Stangeby method [1] (Figure 9). It is seen that our data in the interval 56-80 mm are somewhat lower. This may be explained by the fact that in processing the data by the Stangeby method the average values from the consecutive I-V characteristics during current pulse are taken. We must also point out that in Stangeby method a Maxwellian EEDF of the electrons is assumed, but not measured. The best fit with the experimental EEDF was obtained by an accuracy of 5%. Taking into account all factors affecting the accuracy, the uncertainty in the electron temperatures evaluated by the first derivative method are | Figure 9 |
| in the range of ( 4 eV. The next figure (Figure 10) shows the radial distribution of the plasma potential. Figure 11 presents the radial distribution of the electron densities. The uncertainty in the values evaluated does not exceed 2 1017 m-3. For comparison, in Figure 12 we give Stangeby method values acquired from different shots. In general, the results obtained by the two methods are in good agreement. However, the first derivative method allows one to obtain in addition the real EEDF and the plasma potential values. | Figure 10 |
| Figure 11 | Figure 12 |

When considering the results obtained using a Langmuir probe in the presence of a strong magnetic field, the spatial resolution of the measurements must also be discussed. For a large negative probe potential (with respect to the plasma potential) and, respectively, ion saturation current, the probe-disturbed length [1] along the magnetic field lines is:

(12)

where A is projection of the probe in the  direction and is the (isothermal) ion acoustic velocity. In the presence of plasma turbulences, the diffusion coefficient must be set equal to the Bohm diffusion value.

In a similar way, for a positive probe potential corresponding to the electron part of the I-V characteristic we have:

(13)

where is the thermal electron velocity.

The probe projection is 2 x (2 mm x 0.7 mm) → A=2.8x10-6 m2, so that and for a magnetic field B = 1.3 T in the range of interest of electron temperatures () we have:

(the table must be re-calculated accordingly)

| Te = 40 eV | Lip = 6 10-3 m | Lep = 0.14 m |
| --- | --- | --- |
| Te = 10 eV | Lip = 11 10-3 m | Lep = 0.27 m |

Table 2

In the discussion of the probe-disturbed length, the characteristic dimension  of the turbulent structures must be taken into account. Such measurements have been performed on CASTOR by means of the 2D array of Langmuir probes [8], Figure 13 show a snap shot of the projection of potential structures to a fraction of the poloidal cross section.

Figure 13

It is seen that the characteristic dimension of the disturbed area is in the order of 2-10 mm, which is comparable to the probe length, L. This value must be assumed as the upper limit of the integral for the diffusion parameter (equation (3)) and in expression (5).

Another problem in Langmuir probe measurements is the availability of sufficient reference probe area: The reference probe surface area must be large enough to withstand all the current collected from the measuring probe without a noticeable potential drop [7]. In practice, in a number of tokamaks, installing the probes involves mounting the probes within an existing edge structure, such as limiter, with the probe face flush to the main surface [1]. Then, if the probe-disturbed length is larger than the distance between the probe and the reference solid surface, the requirement for a sufficient probe/reference probe surface may be not satisfied and the of the charged particles collection may be impeded.

In our case, the rake probe is inserted into the edge plasma from the top of the torus, 1800 toroidally away from the poloidal limiter and the probe-disturbance length is much less than the probe-limiter distance for the temperature ranges of interest.

Conclusion

The first derivative Langmuir probe method is used for processing the electron part of the current-voltage (I-V) probe characteristics measured in the CASTOR tokamak edge plasma (Institute of Plasma Physics, Association EURATOM-IPP, Prague, Czech Republic).

EEDFs at different radial positions in the edge plasma are acquired for the first time for real tokamak plasma and the values of the plasma potential, electron temperature and electron densities are evaluated. It is shown that close to the bulk plasma the EEDF is not strictly Maxwellian.

The comparison of the results obtained with the results given by the Stangeby method gives a satisfactory agreement.

The applicability of the first derivative Langmuir probe method in strongly magnetized, high temperature tokamak plasmas is discussed.

The results presented here demonstrate that the procedure proposed allows one to acquire additional plasma parameters using the electron part of the current-voltage Langmuir probe characteristics in tokamak edge plasma measurements.

# Acknowledgements

The authors wish to thank Dr. B. J. Green, Scientific Officer, European Commission, Directorate-General for Research, Directorate J - Energy, Unit J6 - Fusion Association Agreements, for initiation of this work.

The results presented are in implementation of tasks 2.2 and 3.4 of Work Plan 2007 of the Association EURATOM-BULGARIA inn collaboration with the Association EURATOM-IPP.CR, Prague, Czech Republic.

References

Stangeby P C, McCracken G M, (1990) Nuclear Fusion, 30,#7, pp ???-???

Arslanbekov R R, Khromov N A, Kudryavtsev A A, (1994) Plasma Sources Sci. Technol. 3,

pp 528 -538

Demidov V I, Ratynskaia S V, Armstrong R J, Rypdal K (1999) Phys Plasma, 6, #1,

pp 350-358

Rozhansky V A, Tsendin L D (2001) “Transport Phenomena in Partially Ionized Plasma”

(Gordon and Breach, New York)

Golubovsky Yu B, Zakharova V M, Pasunkin V I and Tsendin L D (1981) Sov. J. Plasma Phys

7, p. 340

Demidov V I, Kolokolov N B and Kudryavtsev A A, (1996) “Probe Methods of Diagnostics of

Low Temperature Plasma” (Moscow: Energoatomizdat – in Russian)

Chang J-S, (1973), J. Phys. D: Appl. Phys. 6, p 1674

Martines E, Hron M and Stockel J 2002 Plasma Phys. Control. Fusion 44 351

# Comments

the factor 2 is here to take into account the both side of the probe. The probe measures upstream and downstream simultaneously. Of course this is valid when the probe is perpendicular to the field lines.